Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample Submitted by Kate Allen 

ID – KEA002
X-ray Crystallography Laboratory

University of Washington

13. September 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An orange block, measuring 0.5 x 0.4 x 0.4 mm3 was mounted on a glass capillary with oil.  Data was collected at 23oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 30 mm and exposure time was 120 seconds per degree for all sets.  The scan width was 1o.   Data collection was 99.8% complete to 25o  in (.  A total of  12951 partial and complete reflections were collected covering the indices, h = -14 to 13, k = -14 to 14,  l = -20 to 16.  8076 reflections were symmetry independent and the Rint = 0.0554 indicated that the data was good (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model with motives of the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The Ir complex of C4d symmetry is accompanied by 4 water molecules in a plane parallel to that of the complex, hydrogen bonding to one of the nitrogens of each of the four pyrazole rings, 6 B-H groups, also grouped in a plane parallel to that of water and the complex, hydrogen bonding to each other and the water. 
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<KEA003.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Identification code 
shelxl

Empirical formula 
C20 H42 B6 Cl2 Ir N8 O4

Formula weight 
786.58

Temperature 
296(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 10.8990(3) Å
= 97.803(3)°.


b = 10.9530(4) Å
= 106.691(2)°.


c = 15.1380(5) Å
 = 90.8580(10)°.

Volume
1712.18(10) Å3
Z
2

Density (calculated)
1.526 Mg/m3
Absorption coefficient
4.093 mm-1
F(000)
782

Crystal size
0.50 x 0.40 x 0.40 mm3
Theta range for data collection
2.05 to 28.23°.

Index ranges
-14<=h<=13, -14<=k<=14, -20<=l<=16

Reflections collected
12951

Independent reflections
8076 [R(int) = 0.0554]

Completeness to theta = 25.00°
99.8 % 

Absorption correction
Semi-empirical from equivalents

Max. and min. transmission
0.2913 and 0.2341

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8076 / 0 / 368

Goodness-of-fit on F2
1.034

Final R indices [I>2sigma(I)]
R1 = 0.0564, wR2 = 0.1329

R indices (all data)
R1 = 0.1020, wR2 = 0.1580

Largest diff. peak and hole
2.279 and -1.435 e.Å-3



� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

