Crystal Structure Report for K. Goldberg

by Werner Kaminsky

Sample Submitted by Kate Allen 

ID – KEA021

X-ray Crystallography Laboratory

University of Washington

16. November 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A tiny yellowish piece, measuring 0.07 x 0.02 x 0.01 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 1o.   The crystals turned out to be twinned, with With CELL_NOW
 a 180 degree rotation twin about (001) was found. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap of reflections associated to both twin domains, however, the data was so week such that the numerical process of unfolding the domains was stretched to its limits.

Data collection was 95.9% complete to 25o  in (.  A total of  14381 (merged) reflections were collected covering the indices, h = -13 to 13, k = -16 to 16,  l = 0 to 18.  8116 reflections were symmetry independent and the Rint = 0.1307 indicated that the data was of less than average quality (0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No.2). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
A disordered pentane accompanies the complex.
The structure is of sufficient quality and may be submitted for publication, however, a repeat of data collection on a larger crystal is recommended. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C97 H124 Ir4 N8 O16

Formula weight 
2426.84

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 11.229(2) Å
= 92.114(18)°.


b = 13.830(3) Å
= 97.991(16)°.


c = 15.077(4) Å
 = 93.714(14)°.

Volume
2311.1(10) Å3
Z
1

Density (calculated)
1.744 Mg/m3
Absorption coefficient
5.810 mm-1
F(000)
1198

Crystal size
0.07 x 0.02 x 0.01 mm3
Theta range for data collection
1.84 to 25.56°.

Index ranges
-13<=h<=13, -16<=k<=16, 0<=l<=18

Reflections collected
14381

Independent reflections
8116 [R(int) = 0.1307]

Completeness to theta = 25.00°
95.9 % 

Max. and min. transmission
0.9442 and 0.6865

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8116 / 218 / 587

Goodness-of-fit on F2
0.975

Final R indices [I>2sigma(I)]
R1 = 0.0916, wR2 = 0.1527

R indices (all data)
R1 = 0.2068, wR2 = 0.1960

Largest diff. peak and hole
3.279 and -2.525 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





