Crystal Structure Report for K Goldberg

Submitted by Kathryn Arthur 

Sample ID – KLAII136

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

28. September 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\goldberg\kathryn\KLAII136

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear prism, size to 0.48 x 0.31 x 0.31 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-72.5
160  
 0 

2
      
(        
86.5




3.70
-145.9
-200.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 15 seconds per degree for all sets.  The scan width was 2o.   Data collection was 95.9% complete to 28.32o and 100% complete to 25o  in (.  A total of  54145 partial and complete reflections were collected covering the indices, h = -16 to 16, k = -19 to 19,  l = -23 to 23.  6889 reflections were symmetry independent and the Rint = 0.0520 indicated that the data was better than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No. 14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A disordered solvent molecule, toluene was found,  that occupies only 50% of the unit cell (disorder not shown in ORTEP). Two phenyl groups show increased lbrative motion C6-C11, C18 – C23 leading to increased thermal parameters.




