Crystal Structure Report for D. Reed

by Robert Love and

Werner Kaminsky

Sample Submitted by Jay Lee 

ID – KL_04_122

X-ray Crystallography Laboratory

University of Washington

24. March 2026
Data Collection  started: 2/26/2026
Documentation finished: 3/24/2026
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A blue shard, measuring 0.06 x 0.05 x 0.05 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 87.5% complete to 15o in (.  A total of  4722 merged reflections were collected covering the indices, -22<=h<=0, 0<=k<=22, -55<=l<=55.  2517 reflections were symmetry independent and the high Rint = 0.4505 reflects the weekness of the data (average quality 0.07).  Indexing and unit cell refinement indicated a trigonal lattice.  The space group was found to be R -3 c :H (No. 167). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

The data appeared twinned via 180 degrees about [-1 0 1] (CELL_NOW
) and after multi-domain integration (SAINT, SADABS within the APEX2 software package by Bruker
) the data was merged utilizing twinabs
.

Objective outlier removal was achieved with the Bayesian post-processing algorithm from within the SORTAV package
.

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE.
 Water molecules coordinating with Cu may be seen as placeholders for multiply disordered dimethylacetamin and less likely tert-butyl ether inside the cage.
The structure statistics are sub standard, however publication is possible if this is clearly stated. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 15% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C258 H186 Cu12 N6 O78

Formula weight 
5380.60

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Trigonal

Space group 
R -3 c :H

Unit cell dimensions
a = 31.16(4) Å
a= 90°.


b = 31.16(4) Å
b= 90°.


c = 76.61(11) Å
g = 120°.

Volume
64429(191) Å3
Z
6

Density (calculated)
0.832 Mg/m3
Absorption coefficient
0.632 mm-1
F(000)
16488

Crystal size
0.060 x 0.050 x 0.050 mm3
Theta range for data collection
1.304 to 14.936°.

Index ranges
-22<=h<=0, 0<=k<=22, 0<=l<=55

Reflections collected
4722

Independent reflections
2517 [R(int) = 0.4505]

Completeness to theta = 14.936°
87.5 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
2517 / 494 / 475

Goodness-of-fit on F2
0.781

Final R indices [I>2sigma(I)]
R1 = 0.1003, wR2 = 0.2230

R indices (all data)
R1 = 0.3095, wR2 = 0.3029

Largest diff. peak and hole
0.200 and -0.265 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) S. French and K. Wilson (1979). On the Treatment of Negative Intensity Observations. Acta Cryst. A34, 517-525.


    (b) Blessing, R. H. (1995). An empirical correction for absorption anisotropy. Acta Cryst. A51 33-38.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





