Crystal Structure Report for D. Reed

by Caroline Christ and

Werner Kaminsky

Sample Submitted by Jay Lee 

ID – KL_04_143
X-ray Crystallography Laboratory

University of Washington

31. March 2026
Data Collection  started: 3/20/2026
Documentation finished: 3/31/2026
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

An orange shard, measuring 0.25 x 0.19 x 0.18 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 0.75o.   Data collection was 99.9% complete to 17.225o in (.  A total of  13986 reflections were collected covering the indices, -24<=h<=24, -17<=k<=17, -43<=l<=43.  7111 reflections were symmetry independent and the Rint = 0.0615 indicated that the data was of usable.  Indexing and unit cell refinement indicated a body centered tetragonal lattice.  The space group was found to be I 4/m  (No. 87). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is similar to that of MK_6_7A, however, solvents could not be refined and disorder was more extensive.
This cage structure diffracted only to a resolution of 1.2 Angstroem despite prolonge exposure, thus, including data at larger Bragg angles was not advised. The reason is large amount of disorder in the cage ligands and solvent.

The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE

The structure is of moderate quality and but for publication if the comment on data resolution limit is clearly stated. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 15% probability level. Disorder solvent omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C600 H360 Mo24 N24 O96

Formula weight 
11743.66

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Tetragonal

Space group 
I 4/m

Unit cell dimensions
a = 29.602(3) Å
a= 90°.


b = 29.602(3) Å
b= 90°.


c = 52.662(5) Å
g = 90°.

Volume
46146(9) Å3
Z
2

Density (calculated)
0.845 Mg/m3
Absorption coefficient
0.358 mm-1
F(000)
11808

Crystal size
0.250 x 0.190 x 0.180 mm3
Theta range for data collection
1.243 to 17.225°.

Index ranges
-24<=h<=24, -17<=k<=17, -43<=l<=43

Reflections collected
13986

Independent reflections
7111 [R(int) = 0.0615]

Completeness to theta = 17.225°
99.9 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
7111 / 3779 / 1204

Goodness-of-fit on F2
1.163

Final R indices [I>2sigma(I)]
R1 = 0.1534, wR2 = 0.3283

R indices (all data)
R1 = 0.2492, wR2 = 0.3880

Largest diff. peak and hole
1.275 and -0.603 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





