Crystal Structure Report for D. Reed
by Caroline Christ & Werner Kaminsky

Sample Submitted by Jay Lee 

ID – KL_05_015
X-ray Crystallography Laboratory

University of Washington

19. May 2026
Data Collection  started: 5/11/2026
Documentation finished: 5/19/2026
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A green prism, measuring 0.108 x 0.103 x 0.087 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per frame for all sets.  The scan width was 0.75o.   Data collection was 99.7% complete to 24.407o in (.  A total of  22198 merged reflections were collected covering the indices, -34<=h<=0, 0<=k<=34, 0<=l<=93.  11476 reflections were symmetry independent and the Rint = 0.1204 indicated that the data was acceptable.  Indexing and unit cell refinement indicated a Rhombohedral lattice.  The space group was found to be R(3 c :H  (No. 167). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The contribution of disordered solvent to the diffraction pattern was removed with SQUEEZE

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the expanded molecule  with thermal ellipsoids at the 15% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C234 H144 Cu12 N24 O96

Formula weight 
5590.20

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Trigonal

Space group 
R -3 c :H

Unit cell dimensions
a = 29.9967(15) Å
a= 90°.


b = 29.9967(15) Å
b= 90°.


c = 80.651(4) Å
g = 120°.

Volume
62847(7) Å3
Z
6

Density (calculated)
0.886 Mg/m3
Absorption coefficient
0.654 mm-1
F(000)
16992

Crystal size
0.108 x 0.103 x 0.087 mm3
Theta range for data collection
1.278 to 24.407°.

Index ranges
-34<=h<=0, 0<=k<=34, 0<=l<=93

Reflections collected
22198

Independent reflections
11476 [R(int) = 0.1204]

Completeness to theta = 24.407°
99.7 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
11476 / 446 / 484

Goodness-of-fit on F2
1.044

Final R indices [I>2sigma(I)]
R1 = 0.1300, wR2 = 0.2603

R indices (all data)
R1 = 0.2668, wR2 = 0.2922

Largest diff. peak and hole
0.702 and -0.938 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





