Crystal Structure Report for 
M R Kollipara
by Werner Kaminsky & Paige Gannon
ID – KMR_CLN_42_new
X-ray Crystallography Laboratory

University of Washington

09. March 2022
Data Collection  started: 11/09/2021
Documentation finished: 03/09/2022
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

An orange shard, measuring 0.300 x 0.260 x 0.150 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX-II CCD single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 100% complete to 25o  in (.  A total of 33820 partial and complete reflections were collected covering the indices, -19<=h<=19, -24<=k<=24, -18<=l<=17.  A total of 8661 symmetry independent reflections with Rint = 0.0215 were collected.  Indexing and unit cell refinement indicated a monoclinic lattice.  The space group was found to be P21/c. 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure exhibits two channels along the c-axis inside the unit cell that appear to be empty. Analysis with SQUEEZE
 revealed a volume of 232 Å³, and with c=13.458 Å, the quasi rectangular channels have sides of 4.15 Å x 4.15 Å (assuming a square cross section, see Figure 2 below). The electron count was 4 electrons per channel or roughly 0.017 e Å-1. Thus, 

no solvent is occupying the channels.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit. Figure 2 shows the unit cell along the c-axis.
 [image: image2.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
[image: image3.jpg]



Figure 2. Unit cell content seen along the c-axis, exhibiting two infinite channels along [0 0 1]. 

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C32 H32 Cl F6 N3 P Rh S

Formula weight 
773.99

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c

Unit cell dimensions
a = 14.8364(6) Å
= 90°.


b = 18.1146(8) Å
= 107.054(2)°.


c = 13.4580(5) Å
 = 90°.

Volume
3457.9(2) Å3
Z
4

Density (calculated)
1.487 Mg/m3
Absorption coefficient
0.736 mm-1
F(000)
1568

Crystal size
0.300 x 0.260 x 0.150 mm3
Theta range for data collection
1.436 to 28.434°.

Index ranges
-19<=h<=19, -24<=k<=24, -18<=l<=17

Reflections collected
33820

Independent reflections
8661 [R(int) = 0.0215]

Completeness to theta = 25.000°
100.0 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8661 / 0 / 411

Goodness-of-fit on F2
1.070

Final R indices [I>2sigma(I)]
R1 = 0.0195, wR2 = 0.0504

R indices (all data)
R1 = 0.0216, wR2 = 0.0518
Largest diff. peak and hole
0.684 and -0.406 e.Å-3
� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

