Crystal Structure Report for 

Mohan Rao Kollipara

by Werner Kaminsky

Sample ID 

KMR_SA_31_RT

X-ray Crystallography Laboratory

University of Washington

26. September 2017
Data Collection  started: 9/20/2016
Documentation finished: 9/26/2016
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A yellow plate, measuring 0.20 x 0.17 x 0.06 mm3 was mounted on a loop with oil.  Data was collected at 21oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 30 mm and exposure time was 150 seconds per degree for all sets.  The scan width was 1.2o.   Data collection was 99.8% complete to 25o  in (.  A total of  187325 partial and complete reflections were collected covering the indices, -13<=h<=13, -17<=k<=15, -20<=l<=20.  8729 reflections were symmetry independent and the Rint = 0.0886 indicated that the data was of average quality.  Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image2.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C31 H37 Cl2 F6 N4 P Ru2 S

Formula weight 
915.71

Temperature 
294(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 10.4899(9) Å
= 71.475(4)°.


b = 13.0162(17) Å
= 76.255(4)°.


c = 15.339(2) Å
 = 69.076(4)°.

Volume
1836.6(4) Å3
Z
2

Density (calculated)
1.656 Mg/m3
Absorption coefficient
1.127 mm-1
F(000)
916

Crystal size
0.200 x 0.170 x 0.060 mm3
Theta range for data collection
2.277 to 28.240°.

Index ranges
-13<=h<=13, -17<=k<=15, -20<=l<=20

Reflections collected
14569

Independent reflections
8729 [R(int) = 0.0886]

Completeness to theta = 25.000°
99.8 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8729 / 4 / 433

Goodness-of-fit on F2
0.988

Final R indices [I>2sigma(I)]
R1 = 0.0615, wR2 = 0.1179

R indices (all data)
R1 = 0.1704, wR2 = 0.1572

Largest diff. peak and hole
0.834 and -0.989 e.Å-3
� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.





� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

