Crystal Structure Report for J. Mayer
by Werner Kaminsky

Sample Submitted by Lisa Park-Gehrke 

ID – LP010
X-ray Crystallography Laboratory

University of Washington

05. April 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red cut-block, measuring 0.3 x 0.2 x 0.1 mm3 was mounted on a glass capillary with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 100% complete to 25o  in (.  A total of  24501 (merged) reflections were collected covering the indices, h = -28 to 28, k = -28 to 15,  l = -17 to 17.  3894 reflections were symmetry independent and the Rint = 0.0300 indicated that the data was brilliant (average quality 0.07).  Indexing and unit cell refinement indicated a tetragonal I lattice.  The space group was found to be I 4/m  (No.87). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Cl1 is disordered with a deuterated acetonitrile which never overlap with those of neighboring molecules, instead one observes sequences of Cl-Ir-NCCD3 of statistically varying lengths along the fourfold axis which eventually turn into the upside-down sequence D3CCN-Ir-Cl causing a small unnoticeable structural defect. The same disorder was observed even in absence of the mirror plane or in a related but not strictly applicable symmetries requiring enantiomorphic twinning with rather unstable structural refinement iterations.

Four disordered D3CCN accompany the porphyrin and a few restraints were required because of solvent disorder and the disordered Cl- and acetonitrile nitrogen occupying similar atomic positions.  The structure is of high quality (R1=2.42%) and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<LP010.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder and solvent omitted for clarity.
Table 1: Crystallographic data for the structures provided.

Identification code 
LP010
Empirical formula 
C66 H36 Cl D27 Ir N13

Formula weight 
1293.11

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Tetragonal

Space group 
I 4/m

Unit cell dimensions
a = 16.7356(4) Å
= 90°.


b = 16.7356(4) Å
= 90°.


c = 10.5768(3) Å
 = 90°.

Volume
2962.35(13) Å3
Z
2

Density (calculated)
1.450 Mg/m3
Absorption coefficient
2.352 mm-1
F(000)
1288

Crystal size
0.30 x 0.20 x 0.10 mm3
Theta range for data collection
1.72 to 36.92°.

Index ranges
-28<=h<=15, -28<=k<=15, -17<=l<=17

Reflections collected
24501

Independent reflections
3894 [R(int) = 0.0300]

Completeness to theta = 25.00°
100.0 % 

Max. and min. transmission
0.7988 and 0.5389

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
3894 / 43 / 139

Goodness-of-fit on F2
1.064

Final R indices [I>2sigma(I)]
R1 = 0.0242, wR2 = 0.0574

R indices (all data)
R1 = 0.0243, wR2 = 0.0575

Largest diff. peak and hole
1.163 and -2.035 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





