Crystal Structure Report for G. Lalic
by Maike Blakely
Sample Submitted by Megan Armstrong 

ID – MA_03_102
X-ray Crystallography Laboratory

University of Washington

15. November 2016
Data Collection  started: 11/10/2016
Documentation finished: 11/14/2016
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A clear colorless prism, measuring 0.57 x 0.10 x 0.10 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 180 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.9% complete to 25o  in (.  A total of  38772 reflections were collected covering the indices, -16<=h<=16, -24<=k<=24, -17<=l<=17.  7737 reflections were symmetry independent and the Rint = 0.0901 indicated that the data was of less than average quality (0.07). Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c  (No. 14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 
Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The CH2OSiC6H15 moiety (C28,O1,Si1, C40-C45) is disordered. 
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.
Table 1: Crystallographic data for the structures provided.

      Empirical formula                 
C45 H65 Cu N2 O Si 

      Formula weight                    
741.62 

      Temperature                       
100(2) K

      Wavelength                        
0.71073 Å
      Crystal system, space group       
Monoclinic,  P 21/c

      Unit cell dimensions              
a = 14.0458(9) Å   
alpha = 90°
                                        
b = 20.6508(13) Å    
beta = 93.587(4)°
                                        
c = 14.4990(9) Å   
gamma = 90°
      Volume                            
4197.3(5) Å3
      Z, Calculated density             
4,  1.174 Mg/m3
      Absorption coefficient            
0.583 mm-1
      F(000)                            
1600

      Crystal size                      
0.57 x 0.10 x 0.10 mm

      Theta range for data collection   
1.453 to 25.497°
      Limiting indices                  
-16<=h<=16, -24<=k<=24, -17<=l<=17

      Reflections collected / unique    
38772 / 7737 [R(int) = 0.0901]

      Completeness to theta = 25.000    
99.9 %

      Refinement method                 
Full-matrix least-squares on F2
      Data / restraints / parameters    
7737 / 0 / 530

      Goodness-of-fit on F2            
0.996

      Final R indices [I>2sigma(I)]     
R1 = 0.0409, wR2 = 0.0876

      R indices (all data)              
R1 = 0.0818, wR2 = 0.1034

      Largest diff. peak and hole       
0.520 and -0.320 e. Å3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2013) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3-8.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





