Crystal Structure Report for 
Prof. Karen I. Goldberg
Submitted by Melanie Denney
Sample ID – MCD-111-088
by Antonio DiPasquale
X-ray Crystallography Laboratory

University of Washington

07. October 2005
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\goldberg\denney\MCD-111-088
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
A yellow block was cut to 0.48 × 0.48 × 0.48 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with four sets of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
183.0


          
 7.804    -1.500    160.000     0.000      

2

ω
126.8



 7.804    94.096  -201.823   74.141
3

ω
91.8



 7.804 -145.904  -201.823   74.141
4

ω
66.8



 7.804   -25.904  -186.823   74.171

Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 98.6% complete to 25o in (.  A total of 13,504 partial and complete reflections were collected covering the indices, h = -11 to 9, k = -16 to 16,

 l = -17 to 17.  5,962 reflections were symmetry independent and the Rint = 0.0531 indicated that the data was of better than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P -1(No.2). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-2004) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were placed using a riding model.  All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).



_1097643391.unknown

