Crystal Structure Report for 

Mondher Dhifet

by Caroline Christ & Werner Kaminsky

Sample ID – MD_01

X-ray Crystallography Laboratory

University of Washington

21. October 2025
Data Collection  started: 09/09/2025
Documentation finished: 10/21/2025
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A red block, measuring 0.107 x 0.062 x 0.043 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 45 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 100% complete to 25o in (.  A total of  26004 reflections were collected covering the indices, -16<=h<=16, -10<=k<=10, -18<=l<=18.  3436 reflections were symmetry independent and the Rint = 0.0564 indicated that the data was of good quality (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c  (No. 14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The porphyrin contains an inversion center through the zinc that reproduces half of the molecule from the other.
With CCDC entry WEVCAB the structure was previously solved at room-temperature:

P.J.Chmielewski, L.Latos-Grazynski, K.Rachlewicz, T.Glowiak, Angewandte Chemie, International Edition, 1994, 33, 779, DOI: 10.1002/anie.199407791
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C48 H36 N4 Zn

Formula weight 
734.18

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c

Unit cell dimensions
a = 14.0879(9) Å
a= 90°.


b = 8.5470(5) Å
b= 95.851(4)°.


c = 15.5807(9) Å
g = 90°.

Volume
1866.29(19) Å3
Z
2

Density (calculated)
1.306 Mg/m3
Absorption coefficient
0.698 mm-1
F(000)
764

Crystal size
0.107 x 0.062 x 0.043 mm3
Theta range for data collection
1.453 to 25.413°.

Index ranges
-16<=h<=16, -10<=k<=10, -18<=l<=18

Reflections collected
26004

Independent reflections
3436 [R(int) = 0.0564]

Completeness to theta = 25.242°
100.0 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
3436 / 0 / 243

Goodness-of-fit on F2
1.036

Final R indices [I>2sigma(I)]
R1 = 0.0410, wR2 = 0.0979

R indices (all data)
R1 = 0.0672, wR2 = 0.1144

Largest diff. peak and hole
0.812 and -0.426 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





