Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample by Margaret Scheurmann 

ID – MLS3034
X-ray Crystallography Laboratory

University of Washington

28. October 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism, measuring 0.24 x 0.20 x 0.18 mm3 was mounted on a glass capillary with oil.  Data was collected at -143oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 30 mm and exposure time was 35 seconds per degree for all sets.  The scan width was 2o.   Data collection was 92.9% complete to 28.25o and 99.3% complete to 25o  in (.  A total of  62342 partial and complete reflections were collected covering the indices, h = -13 to 15, k = -15 to 18,  l = -20 to 19.  10886 reflections were symmetry independent and the Rint = 0.0951 indicated that the data was of a little less than average quality (0.07).  Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS, SIR97
, DIRDIF
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
3.5 deuterated benzene rings accompany the complex. C18-C20 of one of the terminal t-butils is rotating and refined with a disorder model (omitted for clarity).
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<MLS3034.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids are at the 50% probability level. Disorder and solvent omitted for clarity.
Table 1: Crystallographic data for the structures provided.

	Property
	The structure at 130(2) K

	Empirical Formula
	C32 H50 N2 O2 Pt, 3.5(C6 D6)'

	Formula Weight
	984.33

	Temperature K
	130(2)

	Wavelength Å
	0.71073

	Color and habit
	colorless prism

	Crystal System, space group
	Triclinic,  P(1  (No. 2)

	Unit Cell Dimensions
	

	a, Å

b, Å

c, Å

(, (deg.) 

(, (deg.) 

(, (deg.) 
	12.0695(9) 

13.6977(11) 

15.1780(16) 

80.727(3) 

84.903(3) 

72.956(7) 

	Volume (Å3)
	2365.4(4)

	Density Mg/m3
	1.382

	Reflections Collected/Unique
	20342 / 12420

	Rint / R
	0.0951 / 0.2105

	(m / completeness
	25o / 99.3%

	R1, wR2, [I>2((I)]
	0.0565, 0.0920

	R1, wR2, (all data)
	0.1242, 0.1085





� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Beurskens, P.T., Admiraal, G., Beurskens, G., Bosman, W. P., Garcia-Granada, S., Gould, R. O., Smits, J. M. M. & Smykalla, C. (1996) The DIRDIF96 Program System. Technical Report of the Crystallography Laboratory, University of Nijmegen, The Netherlands.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

