Crystal Structure Report for K. Goldberg
by Werner Kaminsky 
Sample by Margaret Scheuermann 

ID – MLS41421
X-ray Crystallography Laboratory

University of Washington

12. August 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A pale yellow needle, measuring 0.50 x 0.03 x 0.03 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 95.8% complete 25o  in (.  A total of  3429 (merged) reflections were collected covering the indices, h = -8 to 8, k = 0 to 23,  l = 0 to 16.  3354 reflections were symmetry independent and the Rint = 0.07 indicated that the data was average quality. The raw data appeared twinned although the sample looked homogeneous. With cell now
 a 180 degrees twin rotation about (001) was found which, if unresolved, caused considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was then found to be P 21/c  (No.14). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Two I- ligands are disordered with CN- in a non-rational fashion requiring all ligands to be singly negative charged. 
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<MLS41421.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder and solvent omitted for clarity.
Table 1: Crystallographic data for the structures provided.

Identification code 
twin4

Empirical formula 
C19.38 H24 I0.62 N3.38 Pd

Formula weight 
489.38

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 1 21/c 1

Unit cell dimensions
a = 7.3413(6) Å
= 90°.


b = 19.5240(13) Å
= 97.349(4)°.


c = 13.4352(9) Å
 = 90°.

Volume
1909.9(2) Å3
Z
4

Density (calculated)
1.702 Mg/m3
Absorption coefficient
1.981 mm-1
F(000)
971

Crystal size
0.50 x 0.03 x 0.03 mm3
Theta range for data collection
2.09 to 25.35°.

Index ranges
-8<=h<=8, 0<=k<=23, 0<=l<=16

Reflections collected
3429

Independent reflections
3354 [R(int) = 0.07]

Completeness to theta = 25.00°
95.8 % 

Max. and min. transmission
0.9430 and 0.4375

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
3354 / 6 / 233

Goodness-of-fit on F2
1.066

Final R indices [I>2sigma(I)]
R1 = 0.0575, wR2 = 0.0891

R indices (all data)
R1 = 0.0971, wR2 = 0.0974

Largest diff. peak and hole
0.807 and -0.737 e.Å-3



� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





