Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample by Margaret Scheuermann 

ID – MLS_3_115_1
X-ray Crystallography Laboratory

University of Washington

26. February 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism, measuring 0.50 x 0.30 x 0.10 mm3 was floated out its vessel with pentane/DCM solvent directly into Paratone oil to avoid intent decomposition, then mounted on a glass capillary with oil within a few minutes since decomposition becomes visible after 5 minutes even for crystals in oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 97.5% complete to 25o  in (.  A total of  54147 (merged) reflections were collected covering the indices, h = -12 to 11, k = -21 to 20,  l = -28 to 28.  13702 reflections were symmetry independent and the Rint = 0.0327 indicated that the data was good (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Disordered DCM and pentane fill in solvent accessible voids of the structure.  The solvent molecules occupy infinite channels through which they can easily escape causing the sample instability outside the crystal growth solution.
Two molecules form a dimer through hydrogen bonds following the R22(8) motive, (see principles of graphical motive nomenclature outlined elsewhere
), with ring sequence O2H2…O1’C6’O2’H2’…O1C6. Primed atoms are from a symmetry related complex.
< MLS_3_115_1_R22_8dimer.jpg>

Figure 1. The R22(8) dimer, indicated by dashed lines. Solvent removed for clarity.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
<mls_3_115.jpg>
Figure 2. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.
Table 1: Crystallographic data for the structures provided.

Identification code 
mls_3_115_1_0m

Empirical formula 
C68 H109 Cl3 N4 O4 Pt2

Formula weight 
1543.12

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 7.826(5) Å
= 101.756(5)°

b = 14.325(5) Å
= 96.450(5)°

c = 18.176(5) Å
 = 104.459(5)°
Volume
1902.9(15) Å3
Z
1

Density (calculated)
1.347 Mg/m3
Absorption coefficient
3.820 mm-1
F(000)
784

Crystal size
0.50 x 0.30 x 0.10 mm3
Theta range for data collection
1.67 to 33.85°
Index ranges
-12<=h<=11, -21<=k<=20, -28<=l<=28

Reflections collected
54147

Independent reflections
13702 [R(int) = 0.0327]

Completeness to theta = 25.00°
97.5 % 

Max. and min. transmission
0.7012 and 0.2511

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
13702 / 50 / 419

Goodness-of-fit on F2
1.110

Final R indices [I>2sigma(I)]
R1 = 0.0333, wR2 = 0.0802

R indices (all data)
R1 = 0.0439, wR2 = 0.0860

Largest diff. peak and hole
3.576 and -1.901 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� MARGARET C. ETTER* AND JOHN C. MACDONALD JOEL BERNSTEIN Graph-Set Analysis of Hydrogen-Bond Patterns in Organic Crystals Acta Cryst. (1990). B46, 256-262


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





