Crystal Structure Report for K. Goldberg
by Werner Kaminsky

Sample by Margaret Scheuermann 

ID – MLS_3_128_4
X-ray Crystallography Laboratory

University of Washington

25. March 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A tiny colorless prism, measuring 0.13 x 0.03 x 0.015 mm3 was mounted on a glass capillary with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 120 seconds per degree for all sets.  The scan width was 1o.   Data collection was 100% complete to 25o  in (.  A total of  26477 (merged) reflections were collected covering the indices, h = -10 to 10, k = -14 to 14,  l = -19 to 20.  6147 reflections were symmetry independent and the Rint = 0.0949 indicated that the data was slightly less than average quality (0.07).  Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SIR92, 
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Two molecules in this solvent free structure form again a dimer through hydrogen bonds following the R22(8) motive, (see principles of graphical motive nomenclature outlined elsewhere
), with ring sequence O2H2…O1’C6’O2’H2’…O1C6. Primed atoms are from a complex related through a center of symmetry.
The structure is of high quality and ready for publication (no checkcif messages at all). Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
< MLS_3_128_4.jpg>
Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Identification code 
mls_3_128_4_0m

Empirical formula 
C26 H38 N2 O2 Pt

Formula weight 
605.67

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 7.812(5) Å
= 80.206(5)°.


b = 11.067(5) Å
= 82.468(6)°.


c = 14.990(5) Å
 = 74.678(5)°.

Volume
1226.6(11) Å3
Z
2

Density (calculated)
1.640 Mg/m3
Absorption coefficient
5.744 mm-1
F(000)
604

Crystal size
0.13 x 0.03 x 0.02 mm3
Theta range for data collection
1.93 to 28.51°.

Index ranges
-10<=h<=10, -14<=k<=14, -19<=l<=20

Reflections collected
26477

Independent reflections
6147 [R(int) = 0.0949]

Completeness to theta = 25.00°
100.0 % 

Max. and min. transmission
0.9188 and 0.5222

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
6147 / 0 / 292

Goodness-of-fit on F2
1.018

Final R indices [I>2sigma(I)]
R1 = 0.0428, wR2 = 0.0572

R indices (all data)
R1 = 0.0786, wR2 = 0.0648

Largest diff. peak and hole
1.672 and -1.978 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� MARGARET C. ETTER* AND JOHN C. MACDONALD JOEL BERNSTEIN Graph-Set Analysis of Hydrogen-Bond Patterns in Organic Crystals Acta Cryst. (1990). B46, 256-262


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





