Crystal Structure Report for K. Goldberg
by Werner Kaminsky 
Sample Submitted by M Scheuermann 

ID – MLS_9_052_8
X-ray Crystallography Laboratory

University of Washington

29. January 2013
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

From a batch of colorless material was taken one leg of a cross like twin, measuring 0.15 x 0.07 x 0.04 mm3 which was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 100% complete to 25o  in (.  The sample (Figure 1) clearly showed concave interceptions on its edges which are typical signs of twinning. Additionally, twinning was investigated by birefringence and optical eigenray directions across the sample, indicating that the rotation axis may be almost parallel to the twin rotation axis (negligible extinction angle difference between twin components) . 

[image: image1.png]111,

%EIE L




[image: image2.png]


[image: image3.png]



Figure 1. Crystal with signs of twinning, seen in (from left to right) transmission, birefringence and extinction
.

The raw data still appeared twinned to some extent. With CELL_NOW
 a 180o twin operation about  (0 0 1)  was found which, if unresolved, would have caused overlapping diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the remaining overlap. A total of 77780 reflections were collected with 8536 symmetry independent reflections covering the indices, h = -12 to 12, k = -14 to 11,  l = 0 to 23 with Rint = 0.1049 (all data)  indicated that the twin-refined data was acceptable (average quality 0.07). Indexing and unit cell refinement indicated then a triclinic P lattice.  The space group was found to be P(1  (No.2). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The structure shows two independent molecules in the asymmetric unit. The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 2 shows the two molecules of the asymmetric unit. 

[image: image4.png]



Figure 2 ORTEP
 of the asymmetric unit with thermal ellipsoids at the 50% probability.
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C20 H32 N2 O2 Pt

Formula weight 
527.57

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P(1  
Unit cell dimensions
a = 9.7826(19) Å
= 91.239(9)°.


b = 11.383(2) Å
= 91.586(8)°.


c = 18.509(4) Å
 = 90.924(10)°.

Volume
2059.4(7) Å3
Z
4

Density (calculated)
1.702 Mg/m3
Absorption coefficient
6.828 mm-1
F(000)
1040

Crystal size
0.07 x 0.05 x 0.01 mm3
Theta range for data collection
1.79 to 26.37°.

Index ranges
-12<=h<=12, -14<=k<=14, 0<=l<=23

Reflections collected
77780

Independent reflections
8536 [R(int) = 0.1049]

Completeness to theta = 25.00°
100.0 % 

Max. and min. transmission
0.9349 and 0.6465

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8536 / 0 / 471

Goodness-of-fit on F2
1.026

Final R indices [I>2sigma(I)]
R1 = 0.0456, wR2 = 0.0705

R indices (all data)
R1 = 0.0699, wR2 = 0.0776

Largest diff. peak and hole
1.741 and -1.202 e.Å-3
� W. Kaminsky, E. Gunn, R. Sours, B. Kahr: Simultaneous false-color imaging of birefringence, extinction, and transmittance at camera speed. J Microscopy. 228 (2008) 153-164. 


   W. Kaminsky: Real-time linear-birefringence-detecting polarization microscope. April 21st 2009, US Patent 7522278.


� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





