Crystal Structure Report for M Heinekey
by Werner Kaminsky

Sample Submitted by Michael Rak 

ID – Mar2x13
X-ray Crystallography Laboratory

University of Washington

17. February 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A tiny yellow needle, measuring 0.30 x 0.02 x 0.02 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 240 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 99.7% complete to 25o  in (.  A total of  95256 (merged) reflections were collected covering the indices, h = -33 to 33, k = -31 to 31,  l = -37 to 37.  19767 reflections were symmetry independent and the Rint = 0.3911 indicated that the data was boarderline (average quality 0.07).  Indexing and unit cell refinement indicated a C- centered monoclinic lattice.  The space group was found to be C 2/c  (No.15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a partial heavy atom phasing model some what consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
This rather large quadromer structure is of very low quality, unsuited for publication but of general interest for ongoing research. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]NOMOVE FORCED

A 61~

-14 X

m
[eo]
1

(010122) - 1102 €€:81:22 LI 924-NOLBTd N





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. There are a total of 4 FeBr4- per quadromer (only 2 are shown).
Table 1: Crystallographic data for the structures provided.

Identification code 
mar2x13_0m

Empirical formula 
C154 H177 Br16 Fe8 Li16 N27 O50

Formula weight 
5042.63

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 27.753(4) Å
= 90°.


b = 26.087(4) Å
= 109.641(7)°.


c = 31.412(4) Å
 = 90°.

Volume
21418(5) Å3
Z
4

Density (calculated)
1.564 Mg/m3
Absorption coefficient
3.586 mm-1
F(000)
10024

Crystal size
0.30 x 0.02 x 0.02 mm3
Theta range for data collection
1.71 to 25.53°.

Index ranges
-33<=h<=33, -31<=k<=31, -37<=l<=37

Reflections collected
95256

Independent reflections
19767 [R(int) = 0.3911]

Completeness to theta = 25.00°
99.7 % 

Max. and min. transmission
0.9317 and 0.4126

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
19767 / 632 / 1165

Goodness-of-fit on F2
0.991

Final R indices [I>2sigma(I)]
R1 = 0.1359, wR2 = 0.2727

R indices (all data)
R1 = 0.3729, wR2 = 0.3906

Largest diff. peak and hole
2.497 and -1.143 e.Å-3



� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





