Crystal Structure Report for J Kovacs
By Werner Kaminsky 
Sample Submitted by M Coggins 

ID – Michael039
X-ray Crystallography Laboratory

University of Washington

17. May 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

From a batch of green crystals, a needle, measuring 0.25 x 0.10 x 0.05 mm3 was mounted on a glass capillary with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 50 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 90.9% complete to 25o  in (.  . 

The raw data appeared slightly twinned with transformation matrix (-1 0 0, 0 -1 0, -0.135 -0.683 1). Although a similar twin law was found with the program CELL_NOW
 the overlap of diffraction peak intensities was not resolved with multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
, instead the twin law was applied within the refinement which lead to a consideral reduction of the R1 value, yet did not remove the intensity overlap completely. A total of 52214 (merged) reflections were collected with 19485 symmetry independent reflections covering the indices, h = -18 to 18, k = -24 to 24,  l = -25 to 52 with a rather high Rint = 0.4497 indicated that the twin-refined data was very problematic (average quality 0.07). Indexing and unit cell refinement indicated then a triclinic lattice.  The space group was found to be P(1  (No.2). 
Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares
The asymmetric unit consists of two manganese complexes, two tetraphenylborane anions, two ether and two acetonitrile solvent molecules, however lacking any additional symmetry between equivalent molecules.  (Figure 1) 
The structure was rendered using considerable amounts of restraints for thermal parameters, however we believe is ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit with thermal ellipsoids at the 50% probability. 
[image: image1.png]-14 Y

(24031 1)

PLATON-May 17 21:51:36 2011

N

-390

R =0.16

NOMOVE FORCED

Prob
Temp

—J1
oo





Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C66 H73 B Mn N5 O3 S

Formula weight 
1082.10

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 15.098(5) Å
= 69.84(2)°.


b = 20.289(7) Å
= 83.47(2)°.


c = 20.645(7) Å
 = 78.29(2)°.

Volume
5806(3) Å3
Z
4

Density (calculated)
1.238 Mg/m3
Absorption coefficient
0.314 mm-1
F(000)
2296

Crystal size
0.05 x 0.04 x 0.03 mm3
Theta range for data collection
1.90 to 25.74°.

Index ranges
-18<=h<=18, -24<=k<=24, -25<=l<=23

Reflections collected
52214

Independent reflections
19485 [R(int) = 0.4497]

Completeness to theta = 25.00°
90.9 % 

Max. and min. transmission
0.9906 and 0.9845

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
19485 / 550 / 1404

Goodness-of-fit on F2
0.976

Final R indices [I>2sigma(I)]
R1 = 0.1620, wR2 = 0.3001

R indices (all data)
R1 = 0.4381, wR2 = 0.4441

Largest diff. peak and hole
0.825 and -0.590 e.Å-3



� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





