Crystal Structure Report for J. Kovacs
by M. Coggins and W. Kaminsky
Sample Submitted by Michael Coggins 

ID – michael066
X-ray Crystallography Laboratory

University of Washington

31. October 2011
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A blue plate, measuring 0.10 x 0.05 x 0.05 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 98.8% complete to 25o  in (.  
The raw data appeared indeed twinned. With CELL_NOW
 a 4.3o rotation twin operation about  (0 0 1)  was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with TWINABS
 removed the overlap. A total of 66667 (merged) reflections were collected with 9356 symmetry independent reflections covering the indices, h = -15 to 15, k = -16 to 11,  l = 0 to 18 with Rint = 0.1265 indicated that the twin-refined data was acceptable (average quality 0.07). Indexing and unit cell refinement indicated then a triclinic lattice.  The space group was found to be P(1  (No.2). 
The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker. 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of acceptable quality, ready for publication. The mixed solvent for the crystallization is reflected in the structure with CH2Cl2 and ether occupying the same space at a ratio of 2:1. 
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder and solvent omitted for clarity.
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C56 H64.65 B Cl1.34 Mn N4 O2.33 S

Formula weight 
976.36

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 12.8928(18) Å
= 71.085(10)°.


b = 14.433(2) Å
= 77.463(10)°.


c = 15.069(3) Å
 = 82.463(9)°.

Volume
2583.7(7) Å3
Z
2

Density (calculated)
1.255 Mg/m3
Absorption coefficient
0.411 mm-1
F(000)
1032

Crystal size
0.10 x 0.05 x 0.05 mm3
Theta range for data collection
1.97 to 25.57°.

Index ranges
-15<=h<=15, -16<=k<=17, 0<=l<=18

Reflections collected
9356

Independent reflections
9356 [R(int) = 0.1265]

Completeness to theta = 25.00°
98.8 % 

Max. and min. transmission
0.9798 and 0.9601

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
9356 / 9 / 619

Goodness-of-fit on F2
0.952

Final R indices [I>2sigma(I)]
R1 = 0.1004, wR2 = 0.1919

R indices (all data)
R1 = 0.2391, wR2 = 0.2365

Largest diff. peak and hole
0.697 and -0.506 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.





