Crystal Structure Report for Julie Kovacs

by Michael Coggins & Werner Kaminsky

Sample Submitted by Michael Coggins

ID – michael102

X-ray Crystallography Laboratory

University of Washington

04. March 2014
Data Collection  started: 5/13/2013
Documentation finished: 3/4/2014
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red block, measuring 00.26 x 0.07 x 0.05 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.4% complete to 25o  in (.  A total of  316423 reflections were collected covering the indices, h = -75 to 75, k = -18 to 18,  l = -34 to 34.  22528 reflections were symmetry independent and the Rint = 0.1168 indicated that the data was of acceptable quality (0.07).  Indexing and unit cell refinement indicated a huge C-centered monoclinic lattice.  The space group was found to be C 2/c  (No. 15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The sum-formula and absence of a proton on the bridging oxygen of the dimers of this compound indicate a mixed-valence MnII/MnIII compound. The completed dimer of the asymmetric unit indeed exhibits significant difference of consistently shorter Mn-N and Mn-O as well as Mn-S distances of the Mn1 complex compared to that with Mn2. The other dimer is completed by symmetry and exhibits disorder as well as bond distances right between those of the other dimer and thus is a MnII/MnIII mixed valence compound as well, but disordered. This structure is similar to that of the Co-complex in Michael103, except that the dimers in that structure are totally disordered, which lead to a smaller unit cell.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the asymmetric unit of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C50 H74 F18 Mn2 N8 O5 P3 S2

Formula weight 
1476.08

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 57.680(12) Å
= 90°.


b = 13.976(3) Å
= 114.214(18)°.


c = 26.103(5) Å
 = 90°.

Volume
19192(7) Å3
Z
12

Density (calculated)
1.533 Mg/m3
Absorption coefficient
0.638 mm-1
F(000)
9108

Crystal size
0.26 x 0.07 x 0.05 mm3
Theta range for data collection
1.51 to 27.81°.

Index ranges
-75<=h<=75, -18<=k<=18, -34<=l<=34

Reflections collected
316423

Independent reflections
22528 [R(int) = 0.1168]

Completeness to theta = 25.00°
99.4 % 

Max. and min. transmission
0.9688 and 0.8517

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
22528 / 355 / 1282

Goodness-of-fit on F2
1.008

Final R indices [I>2sigma(I)]
R1 = 0.0722, wR2 = 0.1700

R indices (all data)
R1 = 0.1360, wR2 = 0.2152

Largest diff. peak and hole
1.193 and -0.755 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





