Crystal Structure Report for Julie Kovacs

by Michael Coggins & Werner Kaminsky

Sample Submitted by Michael Coggins

ID – michael103

X-ray Crystallography Laboratory

University of Washington

27. February 2014
Data Collection  started: 5/15/2013
Documentation finished: 2/27/2014
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red block, measuring 0.25 x 0.10 x 0.10 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 97.1% complete to 25o  in (.  A total of  90959 reflections were collected covering the indices, h = -24 to 24, k = -16 to 16,  l = -29 to 29.  5763 reflections were symmetry independent and the Rint = 0.2178 indicated the small sample size.  Indexing and unit cell refinement indicated a C-centered monoclinic lattice.  The space group was found to be C 2/c  (No. 15). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The asymmetric unit contained a totally disordered molecule which appeared to be half of a dimer. In total 3 PF6- anions balance charge for one dimer, bridged by oxygen which seems not to be protonated. The distances between the two disordered Co centers to Oxygen defer by significant 0.29 Angstrom. Thus, the compound may exhibit CoII – CoIII disorder. 
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder and two PF6- anions omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C50 H74 Co2 F18 N8 O5 P3 S2

Formula weight 
1484.06

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 19.905(5) Å
= 90°.


b = 13.969(3) Å
= 108.217(16)°.


c = 24.073(6) Å
 = 90°.

Volume
6358(3) Å3
Z
4

Density (calculated)
1.550 Mg/m3
Absorption coefficient
0.766 mm-1
F(000)
3052

Crystal size
0.25 x 0.10 x 0.10 mm3
Theta range for data collection
1.78 to 25.68°.

Index ranges
-24<=h<=24, -16<=k<=16, -29<=l<=29

Reflections collected
90959

Independent reflections
5763 [R(int) = 0.2178]

Completeness to theta = 25.00°
97.1 % 

Max. and min. transmission
0.9273 and 0.8315

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
5763 / 279 / 538

Goodness-of-fit on F2
1.003

Final R indices [I>2sigma(I)]
R1 = 0.0746, wR2 = 0.1449

R indices (all data)
R1 = 0.2027, wR2 = 0.2033

Largest diff. peak and hole
0.495 and -0.648 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





