Crystal Structure Report for Mayer

Submitted by Kem Valliant-Saunders

Sample ID – Os2O6(tbupy)4
by Erica Gunn and Jason Benedict

X-ray Crystallography Laboratory

University of Washington

05. May 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A brown crystal plate 0.048 x 0.24 x 0.192 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
181.6




3.70
-68.3
160  
 0 

2
      
(        
81.5




3.70
-145.9
-200.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 1o.   Data collection was 75% complete to 28.37o and 81.9% complete to 25o  in (.  A total of  218974 partial and complete reflections were collected covering the indices, h = 

-12 to 15, k = -31 to 27,  l = -29 to 28. 10865 reflections were symmetry independent and the Rint = 0.1176 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Six solvent molecules (CH2Cl2) are found in the unit cell of this structure. The sample’s instability in air is most likely due to loss of solvent, and contributed greatly to a high mosaicity in the data. This high mosaicity caused several peaks to be rejected by the statistical analysis software, and resulted in a low data completeness. The data agrees well with the proposed molecular structure, showing two Os atoms bridged by O, with 4 bupy ligands and 4 carbonyls attached. 




_1097643391.unknown

