Crystal Structure Report for Dalton

Submitted by Brenden Carlson

Sample ID – OsAsPhen

by Jason B. Benedict

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. December 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\dalton\brenden\OsAsPhen

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An orange crystal prism cut down to 0.48 x 0.24 x 0.12 mm was mounted in a glass capillary filled with the mother liquor, as the crystals decompose in a matter of seconds when removed from solution. Data was collected at 23oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




5.909
-1.5
160  
 0 

2
      
(        
76.9




5.909
94.1
-190.8 
 74.1           

3
      
(        
41.9




5.909
-145.9
-169.8 
 74.1           

Crystal-to-detector distance was 35 mm and exposure time was 15 seconds per degree for all sets.  The scan width was 1.4o.   Data collection was 96.0% complete to 26.37o and 96.3% complete to 25o  in (.  A total of 68290 partial and complete reflections were collected covering the indices, h = -14 to 15, k = -16 to 13,  l = -24 to 25.  11711 reflections were symmetry independent and the Rint = 0.0881 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A disordered solvent molecule, CH2Cl2  was found. This is in addition to the two other CH2Cl2 molecules per asymmetric unit. As mentioned above, the crystals decompose extremely quickly upon removeal from the mother liquor, a direct consequence of the large amount of highly volatile solvent contained in the lattice. Two of the PF6- anions (P2 and P3) sit on special positions, and thus contribute half of a negative charge each per asymmetric unit. The other PF6- contributes a full charge balancing the 2+ charge of the Os complex.




