Crystal Structure Report for Dalton

Submitted by Brenden Carlson

Sample ID – OsPPA2Cl2

by Jason B. Benedict

X-ray Crystallography Laboratory

University of Washington

15. December 2005
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black crystal prism cut down to 0.24 x 0.12 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




5.91
-88.5
160  
 0 

2
      
(        
91.9




5.91
-25.9
-200.8 
 74.1        

3
      
(        
44.4




5.91
25.9
-190 
 -74.1              

Crystal-to-detector distance was 35 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 97.1% complete to 28.35o and 99.4% complete to 25o  in (.  A total of 191502 partial and complete reflections were collected covering the indices, h = -36 to 36, k = -29 to 31,  l = -18 to 18. 22716 reflections were symmetry independent and the Rint = 0.0617 indicated that the data was of about average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The asymmetric unit (pictured below) consists of four crystallographically independent Osmium complexes (right) and two methylene chlorides. Unfortunately several large peaks of unassigned electron density are still present in the final structure that might impede publication in some journals. These are likely the result of twinning present in the original crrystal. The extraordinarily large optical density of the crystals made inspection between crossed-polarizers impossible. Reflected light revealed heavy macroscopic twinning in all crystals submitted. 




_1097643391.unknown

