Crystal Structure Report for Dalton


Submitted by Brenden Carlson

Sample ID – OsPPhen

by Jason B. Benedict

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

28. October 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\dalton\brenden\OsPPhen

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A dark red crystal cut down to 0.17 x 0.17 x 0.07 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183.0




3.70
-1.5
160  
 0 

2
      
(        
51.5




3.70
-145.9
-185.1 
 74.1   
2
      
(        
41.5




3.70
94.1
-190.1 
 74.1                   

Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 81.0% complete to 26.34o and 89.6% complete to 25o  in (.  A total of 113503 partial and complete reflections were collected covering the indices, h = -14 to 12, k = -15 to 16, l = -25 to 24.  9393 reflections were symmetry independent and the Rint = 0.1177 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The crystals were unstable at STP when removed from the mother liquor. Extra care was taken to ensure crystals were placed into the cryostream as quickly as possible to avoid decomposition. The mechanism of decomposition is presumably volatilization of the large amount of MeCl2 contained within the crystal (three solvent molecules per unit cell). Two of the three PF6 groups occupy special positions, thus having an effective half site occupancy for a total of 2 PF6 groups per Os complex. Better crystals enabling a more complete data set are requisite before this structure is publishable.




