Crystal Structure Report for Dalton

Submitted by Dan Rowe

Sample ID – Rhppyphen

by Jason B. Benedict

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\dalton\danrowe\Rhppyphen

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A pale yellow crystal plate cut down to 0.24 x 0.24 x 0.24 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-200.5
160  
 0 

Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 1.2o.   Data collection was 95.1% complete to 28.35o and 99.0% complete to 25o  in (.  A total of 40057 partial and complete reflections were collected covering the indices, h = -31 to 31, k = -16 to 17,  l = -30 to 30.  8603 reflections were symmetry independent and the Rint = 0.0486 indicated that the data was of better than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C 2/c (No.15). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A disordered solvent molecule, CH2Cl2 (the carbon atom [C77] is disordered) was found. Four chlorine atoms (Cl1, Cl2, Cl7, Cl8) sit on crystallographic special positions with a multiplicity of four, Hence there are a total of eight chlorine ions and four disordered CH2Cl2 molecules per unit cell. As there are eight Rhodium complexes per unit cell, the complex carries an overall plus one charge to balance the chlorine ions. Once removed from solvent, the crystals were only stable at room temperature for approximately 1-2 hours. Decomposition was likely the result of the vaporization of the large amount of CH2Cl2 in the crystal.




