Crystal Structure Report for 
Prof. Jim Mayer
Submitted by Frank Larsen
Sample ID – RuBinapyCH3CN
by Antonio DiPasquale
X-ray Crystallography Laboratory

University of Washington

05. October 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\mayer\larsen\RuBinapyCH3CN
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
An orange crystal prism 0.24 × 0.24 × 0.24 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with three sets of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
176.6


          
 3.703  -103.297   160.000     0.000      

2

ω
86.5



 3.703    -25.904  -200.073   74.141
3

ω         14.9



 3.703
  -94.096  -174.995  -74.141

Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 1.4o.   Data collection was 95.8% complete to 25o in (.  A total of 28,432 partial and complete reflections were collected covering the indices, h = -12 to 12, k = -11 to 11,

 l = -60 to 60.  8,479 reflections were symmetry independent and the Rint = 0.048 indicated that the data was of excellent quality (average = 0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were placed using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).



_1097643391.unknown

