Crystal Structure Report for 
E. K. Rymmai
by Werner Kaminsky

ID – Rymmai_EKR_DN_1
X-ray Crystallography Laboratory

University of Washington

30. January 2026
Data Collection  started: 1/5/2026
Documentation finished: 1/30/2026
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

An orange shard, measuring 0.140 x 0.095 x 0.055 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per frame for all sets.  The scan width was 1o.   Data collection was 100% complete to 25o in (.  A total of  41015 reflections were collected covering the indices, -23<=h<=23, -18<=k<=18, -24<=l<=24.  10526 reflections were symmetry independent and the Rint = 0.1769 reflects the small sample size (average quality 0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No. 14). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The PF6 and the O-etyl moiety appeared disordered in connection with disordered solvent (DCM – hexane) The contribution of which to the diffraction pattern was removed with SQUEEZE.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder omitted for clarity, solvent squeezed.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C50 H41 F6 N3 O3 P2 Ru S

Formula weight 
1040.93

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n

Unit cell dimensions
a = 19.0858(15) Å
a= 90°.


b = 14.9599(12) Å
b= 114.754(4)°.


c = 19.6574(14) Å
g = 90°.

Volume
5096.9(7) Å3
Z
4

Density (calculated)
1.357 Mg/m3
Absorption coefficient
0.475 mm-1
F(000)
2120

Crystal size
0.140 x 0.095 x 0.055 mm3
Theta range for data collection
1.249 to 26.496°.

Index ranges
-23<=h<=23, -18<=k<=18, -24<=l<=24

Reflections collected
41015

Independent reflections
10526 [R(int) = 0.1769]

Completeness to theta = 25.242°
100.0 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
10526 / 204 / 688

Goodness-of-fit on F2
0.980

Final R indices [I>2sigma(I)]
R1 = 0.0527, wR2 = 0.1171

R indices (all data)
R1 = 0.1092, wR2 = 0.1424

Extinction coefficient
0.0011(2)

Largest diff. peak and hole
1.004 and -0.557 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





