C Crystal Structure Report for 

Cherif Ben Nasr

by Werner Kaminsky

ID – S71

X-ray Crystallography Laboratory

University of Washington

18. February 2022
Data Collection  started: 2/17/2022
Documentation finished: 2/18/2022
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A colorless prism, measuring 0.55 x 0.15 x 0.10 mm3 was mounted on a loop with oil.  Data was collected at 21oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 1o.   Data collection was 99.3% complete to 25o in (.  A total of 40692 partial and complete reflections were collected covering the indices, -10<=h<=10, -9<=k<=9, -20<=l<=20.  A total of 4061 merged and 2152 symmetry independent reflections with Rint = 0.0232 were collected.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK.
 This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image2.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C3 H10 Cd Cl3 N O

Formula weight 
294.87

Temperature 
294(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c

Unit cell dimensions
a = 7.6736(2) Å
a= 90°.


b = 7.4910(2) Å
b= 99.4690(10)°.


c = 15.3758(4) Å
g = 90°.

Volume
871.80(4) Å3
Z
4

Density (calculated)
2.247 Mg/m3
Absorption coefficient
3.353 mm-1
F(000)
568

Crystal size
0.550 x 0.150 x 0.100 mm3
Theta range for data collection
3.033 to 28.281°.

Index ranges
-10<=h<=10, -9<=k<=9, -20<=l<=20

Reflections collected
4061

Independent reflections
2152 [R(int) = 0.0232]

Completeness to theta = 25.000°
99.3 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
2152 / 0 / 89

Goodness-of-fit on F2
1.097

Final R indices [I>2sigma(I)]
R1 = 0.0261, wR2 = 0.0737

R indices (all data)
R1 = 0.0311, wR2 = 0.0759

Largest diff. peak and hole
1.115 and -0.899 e.Å-3
� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





_1097643391.unknown

