Crystal Structure Report for J Mayer
by Werner Kaminsky

Sample Submitted by Shoshanna Barnett 

ID – SHB01
X-ray Crystallography Laboratory

University of Washington

27. October 2010
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A green prism, measuring 0.04 x 0.15 x 0.30 mm3 was mounted on a glass capillary with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 0.5o.   Data collection was 88.7% complete to 25o  in (.  The raw data appeared twinned. With cell_now
 a 180o twin rotation about (100) was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample. Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of  21525 (merged) reflections were collected covering the indices, h = -18 to 17, k = -21 to 20,  l = -21 to 20.  13667 reflections were symmetry independent and the Rint = 0.0837 indicated that the data was appropriate (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No.2). 

Solution by direct methods (SHELXS, SIR97
) produced a partial heavy atom phasing model showing dimer (figure 1) and trimerized versions of the proposed molecule (figure 2). However, the R1 refinement value was unsatisfying. Introducing disorder on the dimerized molecule reduced the R1 somewhat, but still the result was disappointing. Integration in different symmetries and twinning models did not result in any improvement. The reason for the problem was found when looking at the packing diagram, figure 3, which suggested that higher order polymeric versions of the structure motive could easily overlay with the dimer and trimer found to be the main components within the structure. 

[image: image1.jpg]


     [image: image2.jpg]


       [image: image3.jpg]



Figure 1: dimer                Figure 2: trimer                     Figure 3 Packing along twin axis (100)

The concentration of these other molecules is high enough to compromise the structure but too low to allow individual refinement of the atomic positions. Two acetic acid solvent molecules were found, but additional solvent fourier peaks were inconclusive. Thus the structure was ‘cleaned-up’ with SQUEEZE
, the thermal ellipsoids restraint, and the aromatic rings constrained to idealized geometries. The result is an incomplete structure solution, heavily restrained and useful for a student thesis or presentation at symposia but it is not recommended to publish the result because of the restraints and use of SQUEEZE, the crystallographer is extremely unhappy about to have had to introduce here. 
The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
Table 1: Crystallographic data for the structures provided.

Identification code 
twin4

Empirical formula 
C108 H104 Cu10 N20 O22

Formula weight 
2669.51

Temperature 
100(2) K

Wavelength 
0.71069 Å

Crystal system 
Triclinic

Space group 
P(1  
Unit cell dimensions
a = 14.752(5) Å
= 70.643(5)°.


b = 17.190(5) Å
= 82.535(5)°.


c = 17.512(5) Å
 = 70.277(5)°.

Volume
3943(2) Å3
Z
1

Density (calculated)
1.124 Mg/m3
Absorption coefficient
1.375 mm-1
F(000)
1358

Crystal size
0.3 x 0.15 x 0.04 mm3
Theta range for data collection
1.77 to 26.67°.

Index ranges
-18<=h<=17, -21<=k<=20, -21<=l<=20

Reflections collected
21525

Independent reflections
13667 [R(int) = 0.0837]

Completeness to theta = 25.00°
88.7 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
13667 / 709 / 847

Goodness-of-fit on F2
1.243

Final R indices [I>2sigma(I)]
R1 = 0.1329, wR2 = 0.2966

R indices (all data)
R1 = 0.2295, wR2 = 0.3324

Largest diff. peak and hole
2.207 and -2.432 e.Å-3



� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� A.L. Spek. PLATON, A Multipurpose Crystallographic Tool. Utrecht University, The Netherlands,


(2007)


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.





