Crystal Structure Report for 
Prof. Karen Goldberg
Submitted by Susan Kloek
Sample ID – SMK-V-79
by Werner Kaminsky
X-ray Crystallography Laboratory

University of Washington

05. January 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.
A yellow crystal needle 0.29 × 0.05 × 0.05 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
183.0


          
 3.703   -1.500   160.000     0.000      

2

ω
815



 3.703   -25.90  -200.07     -74.141
Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1.7o.   Data collection was 88% complete to 25o in (.  A total of 27,910 partial and complete reflections were collected covering the indices, h = -9 to 8, k = -11 to 11,

 l = -11 to 10.  2,073 reflections were symmetry independent and the Rint = 0.1499 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-97) produced a complete heavy atom phasing model consistent with the proposed chemistry. 

All hydrogen atoms, were placed using a riding model.  All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).
The tetrahedral angle Pd1-C2-C3 is significantly smaller than expected, 101.9(7) indicating a possible interaction between Pd and both carbon atoms.
The crystals were very small and some data is missing at higher scattering angles which required a rebuttal in the cif file for the cifcheck procedure. Otherwise is the structure ready for publication.




_1097643391.unknown

