Crystal Structure Report for Goldberg

Submitted by Susan Kloek

Sample ID – SMK002

by Jason B. Benedict 

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

13. September 2004
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\goldberg\susan\SMK002

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear yellow crystal plate cut down to 0.24 x 0.24 x 0.09 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
177.0




3.70
-120.5
160  
 0 

2
      
(        
86.5




3.70
-25.9
-200.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 81.0% complete to 29.96o and 95.4% complete to 25o  in (.  A total of 66330 partial and complete reflections were collected covering the indices, h = -20 to 20, k = -11 to 12,  l = -32 to 32.  7648 reflections were symmetry independent and the Rint = 0.0964 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 2/c (No.13). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:

S = exp(2B(sinq/()2)/ scale

S is calculated from the scale and the B factor is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms, with the exception of H41 were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Both crystallographically independent toluene molecules (one of which is disordered) sit on special positions, thus only ½ of each molecule is found in the asymmetric unit. As there are no charged species nor any suitable hydrogen bonding moieties in the individual components of the crystals, the forces holding the crystal together are primarily those of van der Waals interactions. Interestingly, these crystals were quite stable under ambient conditions. 

However, the crystals were soluble in the mounting oil and showed signs of decomposition upon dissolution. 




