Crystal Structure Report for 
Prof. Karen Goldberg
Submitted by Susan Kloek
Sample ID – SMK005
by Antonio DiPasquale
X-ray Crystallography Laboratory

University of Washington

17. September 2005
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\goldberg\kloek\SMK005
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

A.DiPasquale:(206) 616-4212

(x-ray lab):     (206) 543-0210 

Email:
adipasqu@u.washington.edu
A yellow crystal prism 0.24 × 0.24 × 0.18 mm in size was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposures as follows:

Scan 

Type
Scanlength (deg.)  start (deg.):(     
      (
         (     
 ( 

1
      
(        
182.0


          
 3.703   -72.500   160.000     0.000      

2

ω
20.0



 3.703  145.904  -170.115  -74.141
Crystal-to-detector distance was 30 mm and exposure time was 20 seconds per degree for all sets.  The scan width was 1.1o.   Data collection was 98.8% complete to 25o in (.  A total of 20,959 partial and complete reflections were collected covering the indices, h = -11 to 11, k = -20 to 20,

 l = -30 to 30.  7,169 reflections were symmetry independent and the Rint = 0.0450 indicated that the data was of better than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P 21/n (No.14). 

The data was integrated and scaled using hkl-2000. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor, which is determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR-97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms, were placed using a riding model.  All non-hydrogen atoms were refined anisotropically by full-matrix least-squares (SHELXL-97).



_1097643391.unknown

