Crystal Structure Report for Spyridis

Submitted by Greg Spyridis

Sample ID – SP7

by Jason B. Benedict

and Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through ftp:

computer: 

chmraypc.cpac.washington.edu

login: 

anonymous

password:

(your name or email address)

location: 
c:\structures\miscellenous\spyridis\SP7

Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red crystal prism 0.24 x 0.17 x 0.12 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
170.4




7.804
70.8
160  
 0 

2
      
(        
28.0




7.804
145.9
-175 
 -74.1           

Crystal-to-detector distance was 40 mm and exposure time was 100 seconds per degree for all sets.  The scan width was 1.0o.   Data collection was 89.6% complete to 27.57o and 96.5% complete to 25o  in (.  A total of 34055 partial and complete reflections were collected covering the indices, h = -15 to 15, k = -7 to 7,  l = -21 to 21.  1343 reflections were symmetry independent and the Rint = 0.1680 indicated that the data was of considerably less than average quality (0.07). 

Indexing and unit cell refinement indicated an orthorhombic P lattice.  The space group was found to be P c a 21 (No.29). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

SP7 crystallizes in the polar spacegroup Pca21. Examination of the crystal packing reveals that the molecules in the structure are packed in a polar configuration along the c-axis (polar axis). This material should thus be second harmonic generation active. The cifcheck routine returns several warnings related to the flackx parameter. These warnings are the result of the merging of friedel pairs as suggested by the cifcheck routine and are to be disregarded. The crystal used in this experiment was obtained by slow evaporation of CHCl3.




_1097643391.unknown

