Crystal Structure Report for Rupam Dinda

by Werner Kaminsky

ID – SP_30
X-ray Crystallography Laboratory

University of Washington

04. May 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

From a batch of wafer thin orange crystals was taken a thin plates, measuring 0.3 x 0.03 x 0.001 mm3 which was mounted on a loop with oil.  Data was collected at -163oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation. Crystal-to-detector distance was 40 mm and exposure time was 60 seconds per degree for all sets.  The scan width was 0.5o.   
The raw data appeared twinned. With CELL_NOW
 a 180o twin operation about  (0 0 1) was found which, if unresolved, would cause considerable overlap of diffraction peak intensities from different domains of the sample   . Multi-domain integration with SAINT within the APEX2 software package by Bruker
 and absorption correction with twinabs
 removed the overlap. A total of 2547 reflections were collected with 1714 symmetry independent reflections covering the indices, h = -10 to 10, k = -4 to 4,  l = -28 to 28 with Rint = 0.0564 indicated that the twin-refined data was good (average quality 0.07). Indexing and unit cell refinement indicated then a triclinic P lattice.  The space group was found to be P(1  (No.2). Data collection was 100% complete to 25o  in ( as a result of two crystal domains contributing.

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. Refinement involved data in HKL-5 format with the ratio of domains, and enantiomorphic ratio fitted for each domain. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C(H distances in the range 0.95(1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined unisotropically by full-matrix least-squares
Some details to the twin refinement: unresolved twin refinement, best result gives R1=0.102, all unisotropic thermal parameters negatively definite; HKL-4 format twin refinement, R1=0.074, 1/3 of thermal parameters still affected, HKL-5 format fitting with enantiomorphic refinement of domains: R1=0.0499, 5 atoms only require stabilization of thermal parameters, 2 of which would have been negatively definite, no data was excluded. The structure builds out infinite chains where O4 of each complex binds to the next neighbor.

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. 
[image: image1.png]



Figure 2 shows an ORTEP
 of the asymmetric unit with thermal ellipsoids at the 50% probability. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C17 H11 Mo N O4

Formula weight 
389.21

Temperature 
110(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21

Unit cell dimensions
a = 8.0923(15) Å
= 90°.


b = 3.9313(7) Å
= 96.319(12)°.


c = 21.799(4) Å
 = 90°.

Volume
689.3(2) Å3
Z
2

Density (calculated)
1.875 Mg/m3
Absorption coefficient
0.973 mm-1
F(000)
388

Crystal size
0.30 x 0.03 x 0.001 mm3
Theta range for data collection
1.88 to 27.74°.

Index ranges
-10<=h<=10, -4<=k<=4, -28<=l<=28

Reflections collected
2547

Independent reflections
1714 [R(int) = 0.0564]

Completeness to theta = 25.00°
100 % 

Max. and min. transmission
0.9990 and 0.7590

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
1714 / 37 / 213

Goodness-of-fit on F2
1.028

Final R indices [I>2sigma(I)]
R1 = 0.0499, wR2 = 0.1010

R indices (all data)
R1 = 0.0602, wR2 = 0.1046

Absolute structure parameter
0.06(14)

Largest diff. peak and hole
0.116 and -0.119 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS


(version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare, A.; Burla, C.; Camalli M.; Cascarano L.; Giacovazzo C.; Guagliardi A.;   Moliterni A.G.G.; Polidori G.; Spagna R. J. Appl. Cryst. 1999, 32, 115-119; (b) Altomare, A., Cascarano, G., Giacovazzo, C., Guagliardi, A., J. Appl. Cryst. 1993, 26, 343.


� Sheldrick, G. M. SHELXL-97: Program for the Refinement of Crystal Structures 1997 University of Gottingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A.; MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland, 1997.


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





