Crystal Structure Report for Rupam Dinda

by Werner Kaminsky

ID – SP_49
X-ray Crystallography Laboratory

University of Washington

13. February 2013
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A tiny red piece, measuring 0.03 x 0.03 x 0.01 mm3, composed of two unrelated domains (CellNow
), was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 30 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 97.4% complete to 25o  in (,  after integrating over the two domains using SAINT within the APEX2 software package by Bruker
 and scaling with TWINABS.
 A total of  3820 (merged) reflections were collected covering the indices, h = -14 to 16, k = 0 to 9,  l = 0 to 25 and the Rint = 0.0835 indicated that the data was of slightly less than average quality (0.07).  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/c  (No.14). 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C24 H19 Mo N3 O5

Formula weight 
525.36

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c

Unit cell dimensions
a = 13.313(2) Å
= 90°.


b = 8.0476(14) Å
= 68.156(11)°.


c = 21.357(3) Å
 = 90°.

Volume
2123.9(6) Å3
Z
4

Density (calculated)
1.643 Mg/m3
Absorption coefficient
0.661 mm-1
F(000)
1064

Crystal size
0.03 x 0.03 x 0.01 mm3
Theta range for data collection
1.65 to 25.42°.

Index ranges
-14<=h<=16, 0<=k<=9, 0<=l<=25

Reflections collected
3820

Independent reflections
3820 [R(int) = 0.0000]

Completeness to theta = 25.00°
97.4 % 

Max. and min. transmission
0.9934 and 0.9804

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
3820 / 0 / 300

Goodness-of-fit on F2
1.048

Final R indices [I>2sigma(I)]
R1 = 0.0670, wR2 = 0.0967

R indices (all data)
R1 = 0.1298, wR2 = 0.1133

Largest diff. peak and hole
1.040 and -0.667 e.Å-3
� Sheldrick, G. M. (2005). CELL_NOW. University of Goettingen, Germany.


� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick, G. M. (2007). TWINABS. University of Goettingen, Germany.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





