Crystal Structure Report for D. Xiao

by Alison Wang & Werner Kaminsky

Sample Submitted by Sophie Song 

ID – SS_6313

X-ray Crystallography Laboratory

University of Washington

23. January 2026
Data Collection  started: 12/8/2025
Documentation finished: 1/23/2026
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A yellow shard, measuring 0.220 x 0.190 x 0.150 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.75o.   Data collection was 99.6% complete to 25o in (.  A total of  45542 merged reflections were collected covering the indices, -29<=h<=29, -62<=k<=61, -27<=l<=27.  22987 reflections were symmetry independent and the Rint = 0.2125 indicated that the data was of less than average quality (0.07).  Indexing and unit cell refinement indicated a C-centered monoclinic lattice.  The space group was found to be C 2/c  (No.xx). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The cage structure sees four sides related to each other, with 12 PF6 per cage, two of which on special positions. 
Due to disorder in the cage chains and solvent, the latter could not individually be identified and the contribution of which to the diffraction pattern ws removed via SQUEEZE.

Because of the disorder, high angle diffraction intensities fell below the intrinsic diffuse peak backgrounds and vere independent of collection times invisible from about a resolution of 1.1 Å onwards.
The structure is moderate quality but likely publishable. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 15% probability level. Disorder, solvent and some PF6 anions omitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C312 H192 Co8 F168 N48 P24

Formula weight 
9019.84

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
C 2/c

Unit cell dimensions
a = 24.303(2) Å
a= 90°.


b = 51.339(5) Å
b= 120.156(6)°.


c = 23.039(2) Å
g = 90°.

Volume
24856(4) Å3
Z
2

Density (calculated)
1.205 Mg/m3
Absorption coefficient
0.444 mm-1
F(000)
8976

Crystal size
0.220 x 0.190 x 0.150 mm3
Theta range for data collection
1.047 to 25.598°.

Index ranges
-29<=h<=29, -62<=k<=61, -27<=l<=27

Reflections collected
45542

Independent reflections
22987 [R(int) = 0.2125]

Completeness to theta = 25.242°
99.6 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
22987 / 2311 / 1410

Goodness-of-fit on F2
1.054

Final R indices [I>2sigma(I)]
R1 = 0.1968, wR2 = 0.4096

R indices (all data)
R1 = 0.3936, wR2 = 0.5150

Largest diff. peak and hole
2.343 and -1.026 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,  Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





