Crystal Structure Report for D. Xiao

by Alison Wang & Werner Kaminsky

Sample Submitted by Sophie Song 

ID – SS_6320_BTC

X-ray Crystallography Laboratory

University of Washington

28. January 2026
Data Collection  started: 1/15/2026
Documentation finished: 1/28/2026
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A xxx xxx, measuring 0.12 x 0.10 x 0.05 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation, equipped with a Miracol X-ray optical collimator.
Crystal-to-detector distance was 40 mm and exposure time was 100 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 97.7 % complete to 25o in (.  A total of 53160 reflections were collected covering the indices, -9<=h<=9, -22<=k<=22, -22<=l<=22.  3717 reflections were symmetry-independent and the elevated Rint = 0.175 indicated that the data was of less than average quality (0.07).  Indexing and unit cell refinement indicated a primitive cubic lattice.  The space group was found to be P 23 (No. 195). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The data only solved in space group R3 but was then transformed into chiral space group P 23, the problem likely arising from the quasi 1:1 enantiomorphic twinning. One location in the asymmetric unit exhibited a flat blob of electron density that lend itself to be modeled as a three-fold disordered benzene tricarboxylate. The site occupancy was tested to fully cover a void parallel to the difluoro phenyls of the cage molecule. The rest of the voids seem to be filled with water, the contribution of which to the diffraction pattern was removed with SQUEEZE

The structure is publishable, albeit there are checkcif B-alerts indicating lower statistical quality. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the unit cell unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 15% probability level. Disorder omitted for clarity, water solvent squeezed.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C192 H108 Co4 F12 N24 O24

Formula weight 
3598.74

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Cubic

Space group 
P 2 3

Unit cell dimensions
a = 18.3340(13) Å
a= 90°.


b = 18.3340(16) Å
b= 90°.


c = 18.3340(16) Å
g = 90°.

Volume
6162.7(13) Å3
Z
1

Density (calculated)
0.970 Mg/m3
Absorption coefficient
0.328 mm-1
F(000)
1836

Crystal size
0.12 x 0.1 x 0.05 mm3
Theta range for data collection
1.924 to 25.436°.

Index ranges
-9<=h<=9, -22<=k<=22, -22<=l<=22

Reflections collected
53160

Independent reflections
3717 [R(int) = 0.1750]

Completeness to theta = 25.242°
97.7 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
3717 / 214 / 266

Goodness-of-fit on F2
0.990

Final R indices [I>2sigma(I)]
R1 = 0.1075, wR2 = 0.2844

R indices (all data)
R1 = 0.2625, wR2 = 0.3763

Absolute structure parameter
0.48(12)

Largest diff. peak and hole
0.389 and -0.328 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Sheldrick GM. (2008) A short history of SHELX. Acta Cryst. A64, 112-122.


(b) Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. C71, 3–8


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� (a) A. Spek, J. Appl. Cryst. (2003), 36, 7-13; 


   (b) P. van der Sluis & A. L. Spek, Acta Cryst. (1990). A46, 194-201.


   (c) Spek, A. L. (2009). Acta. Cryst. D65, 148-155.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





