Crystal Structure Report for J Mayer
Submitted by Sophia Tran 

Sample ID – ST6901
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

22. July 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A colorless prism, 0.60 x 0.24 x 0.20 mm3 of size was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 30 mm and exposure time was 100 seconds per degree for all sets.  The scan width was 1.8o.   Data collection was 99.3% complete to 25o  in (.  A total of  58919 partial and complete reflections were collected covering the indices, h = -47 to 47, k = -16 to 17,  l = -24 to 24.  9314 reflections were symmetry independent and the Rint = 0.0655 indicated that the data was of average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be P C 2/c (No.15). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The group of molecules in the asymmetric unit as shown are symmetry independent. 8 of these groups fill the unit cell, related by the symmetry operations in space group C 2/c. The fluorides tend to exhibit a larger thermal motion than the carbon ring atoms. Some fluorides are forced into close contact (F9-F18 F20-F20’). N2 hydrogen bonds within the asymmetric unit to O4, N1 inter-molecularly to O2 of a symmetry related unit.
The structure is ready for publication.




_1097643391.unknown

