Crystal Structure Report for Satheeshkumar Rajendran

by Werner Kaminsky

ID – Satheesh_S4

X-ray Crystallography Laboratory

University of Washington

24. January 2022
Data Collection  started: 1/19/2022
Documentation finished: 1/24/2022
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A colorless block, measuring 0.25 0.22 0.15 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Nonius Kappa CCD FR590 single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 50 seconds per degree for all sets.  The scan width was 1o.   Data collection was 99.8% complete to 25o in (.  A total of  165944 partial and complete reflections were collected covering the indices, -15<=h<=15, -22<=k<=22, -22<=l<=22.  A total of 16119 merged and 8290 symmetry independent reflections with Rint = 0.0399 were collected.  Indexing and unit cell refinement indicated a primitive monoclinic lattice.  The space group was found to be P 21/n  (No.14). 

The data was integrated and scaled using hkl-SCALEPACK.
 Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
A feature of this structure are the short intermolecular halide … donor/acceptor contacts Br2 .. O2 and Br1 .. O5.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 
Table 1: Crystallographic data for the structures provided.

Empirical formula 
C21 H12 Br N O3

Formula weight 
406.23

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/n

Unit cell dimensions
a = 11.9615(2) Å
a= 90°.


b = 16.7333(3) Å
b= 94.2860(10)°.


c = 16.8080(2) Å
g = 90°.

Volume
3354.80(9) Å3
Z
8

Density (calculated)
1.609 Mg/m3
Absorption coefficient
2.472 mm-1
F(000)
1632

Crystal size
0.250 x 0.220 x 0.150 mm3
Theta range for data collection
1.720 to 28.273°.

Index ranges
-15<=h<=15, -22<=k<=22, -22<=l<=22

Reflections collected
16119

Independent reflections
8290 [R(int) = 0.0399]

Completeness to theta = 25.000°
99.8 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
8290 / 0 / 469

Goodness-of-fit on F2
1.033

Final R indices [I>2sigma(I)]
R1 = 0.0359, wR2 = 0.0913

R indices (all data)
R1 = 0.0508, wR2 = 0.0972

Largest diff. peak and hole
1.753 and -0.595 e.Å-3
� Otwinowsky, Z.; Minor, W. In: Methods in Enzymology; Carter, C. W., Jr., Sweet, R. M., Eds.; Academic Press: New York, 1997, 276, 307-326.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Waasmaier, D.; Kirfel, A. Acta Crystallogr. A. 1995, 51, 416.


� Farrugia, L. J. Appl. Cryst. 1997, 30, 565





