Crystal Structure Report for M Heinekey
Submitted by Travis Hebden 

Sample ID – TJH154B
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

24. April 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A black prism, 0.28 x 0.26 x 0.20 mm was mounted on a glass capillary with oil.  Data was collected at -143oC.
Crystal-to-detector distance was 30 mm and exposure time was 30 seconds per degree for all sets.  The scan width was 1.8o.   Data collection was 96.3% complete to 25o  in (.  A total of  45063 partial and complete reflections were collected covering the indices, h = -8 to 10, k = -12 to 14,  l = -16 to 16.  4327 reflections were symmetry independent and the Rint = 0.1423 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SHELXS97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

N1≡N2 is disordered with I1 at 78.3(3)% for the triple bonded nitrogen group. Because of the vicinity of the strongly scattering I1, some restraints to stabalize the thermal parameters where necessary. The model used assumes similar thermal motion along bonds. The bond distances between I1 and Co1 (2.556(6)Å) and N1≡N2 (1.17(2) Å) are reasonable.

t-butyls C7-C10 and C11-C14 exhibit strong thermal motion leading to elongated probability ellipsoids. The Cif file has been edited to take account of this fact. Otherwise, this structure is of high quality and ready for publication.




_1097643391.unknown

