Crystal Structure Report for M Heinekey
Submitted by Travis Hebden 

Sample ID – TJH155Bx1
by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

27. May 2009
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A red prism, 0.25 x 0.12 x 0.05 mm3 was mounted on a glass capillary with oil.  Data was collected at -143oC .
Crystal-to-detector distance was 30 mm and exposure time was 176 seconds per degree for all sets.  The scan width was 1.7o.   Data collection was  96.9% complete to 25o  in (.  A total of  45849 partial and complete reflections were collected covering the indices, h = -9 to 9, k = -14 to 13,  l = -14 to 16.  4410 reflections were symmetry independent and the Rint = 0.0980 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

N1≡N2 (triple bond length of 1.07(4)) is disordered with I1 and no ligand at percentages of 46(2) % , 38.9(5) %, and 15(2) %. Because of the vicinity of the strongly scattering I1, some restraints to stabilize the thermal parameters were necessary. The model used assumes similar thermal motion along bonds and is identical to that of a previous structure (THJ154B) which showed N2 + I at 102(2)%.

The t-butyl C11-C14 exhibits a rotational disorder due to the fractional site occupancies which leads to elongated probability ellipsoids. Because C12 is stronger affected than in the previous case (THJ154B), one could draw the conclusion that the void left when neither N2 nor I is present is filled with C12 moving closer to Co, the rest of the t-butyl following suit. 




_1097643391.unknown

