Crystal Structure Report for Heineckey

Submitted by Travis Hebden 

Sample ID – TJHI82Ax1

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

07. July 2008
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

An orange prism, 0.59 x 0.40 x 0.38 mm of size was mounted on a glass capillary with oil.  Data was collected at -143oC.

Crystal-to-detector distance was 30 mm and exposure time was 15 seconds per degree for all sets.  The scan width was 1o.   Data collection was 88.1% complete to 31.97o and 99.9% complete to 25o  in (.  A total of  114020 partial and complete reflections were collected covering the indices, h = -61 to 61, k = -16 to 16,  l = -21 to 21.  10236 reflections were symmetry independent and the Rint = 0.0974 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic C lattice.  The space group was found to be C  2/c (No. 15). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (DIRDIF) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A disordered solvent molecule, THF was found with two molecules sharing one THF.  The thermal properties of the THF were restrained via a model that assumes similar thermal properties along chemical bonds. 

Approximating the electron density distribution by a sphere, as is only possible with the present software, leaves distinct electron density maxima around the Ir core of the complex  halfway between the bonds of Ir to P, B and C. In addition to these were two small electron densities on both sides of the coordination plane through P, C and Ir at distances of 1.931 Å and 1.967 Å. One distinct electron density appeared at an angle similar to that of the distortion of B from the coordination plane at a distance of 1.555 Å. A hydrogen atom (H1) was assigned to this larger electron density and freely refined. The thermal coefficient was found to match that of the Ir and B atoms confirming a correct assignment.  




_1097643391.unknown

