Crystal Structure Report for 
Jiun-Haw Chu
by Werner Kaminsky

Sample Submitted by Paul Malinowski 

ID – TaRhTe4
X-ray Crystallography Laboratory

University of Washington

26. September 2018
Data Collection  started: 9/24/2018
Documentation finished: 9/26/2018
Data backup accessibly through http:

URL: http://cad4.cpac.washington.edu/structures
W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. 

A wafer thin metallic plate, measuring 0.120 x 0.040 x 0.010 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 10 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 93.5% complete to 25o  in (.  A total of  5347 reflections were collected covering the indices, -4<=h<=4, -16<=k<=16, -17<=l<=17. 1569 reflections were symmetry independent and the Rint = 0.0806 indicated that the data was fair.  Indexing and unit cell refinement indicated a primitive orthorhombic lattice.  The space group was found to be P m n 21  (No. 31). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXT
 or SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
The structure suffers from the sample to easily bend and problems to correct properly for absorption as the wavelength for the measurement seemed a little bit too soft and the sample was very thin. Thus, displacement parameters had to be heavily restraint and some residual electron density remained. The material is also twinned via mirror on the c-axis [0.43(3) percent].
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.jpg]


Figure 1. ORTEP of the structure with thermal ellipsoids at the 90% probability level (atoms of the asymmetric unit highlighted in gray).

Table 1: Crystallographic data for the structures provided.

Empirical formula 
Rh Ta Te4

Formula weight 
794.26

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Orthorhombic

Space group 
P m n 21
Unit cell dimensions
a = 3.7491(3) Å
= 90°.


b = 12.5441(11) Å
= 90°.


c = 13.1029(13) Å
 = 90°.

Volume
616.22(10) Å3
Z
4

Density (calculated)
8.561 Mg/m3
Absorption coefficient
38.837 mm-1
F(000)
1304

Crystal size
0.120 x 0.040 x 0.010 mm3
Theta range for data collection
1.554 to 28.299°.

Index ranges
-4<=h<=4, -16<=k<=16, -17<=l<=17

Reflections collected
5347

Independent reflections
1569 [R(int) = 0.0806]

Completeness to theta = 25.000°
93.2 % 

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
1569 / 110 / 76

Goodness-of-fit on F2
1.143

Final R indices [I>2sigma(I)]
R1 = 0.0583, wR2 = 0.1375

R indices (all data)
R1 = 0.0641, wR2 = 0.1416

Absolute structure parameter
0.43(3)

Largest diff. peak and hole
11.089 and -5.310 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� Sheldrick GM. (2015) SHELXT - Integrated space-group and crystal-structure determination. Acta Cryst. A71, 3-8.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� (a) Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


   (b) Sheldrick GM. (2015) Crystal structure refinement with SHELXL. Acta Cryst. (2015). C71, 3–8


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





