Crystal Structure Report for J Mayer
Submitted by Virginia Manner 

Sample ID – YL073

by Werner Kaminsky

X-ray Crystallography Laboratory

University of Washington

10. May 2007
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal plate cut down to 0.4 x 0.2 x 0.1 mm was mounted on a glass capillary with oil.  Data was collected at -143oC.          

Crystal-to-detector distance was 30 mm and exposure time was 120 seconds per degree for all sets.  The scan width was 1o.   Data collection was 91.8% complete to 25o  in (.  A total of  57198 partial and complete reflections were collected covering the indices, h = -9 to 9, k = -14 to 15,  l = -22 to 22.  6458 reflections were symmetry independent and the Rint = 0.1890 indicated that the data was of less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1 (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (DIRDIF) produced an almost complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

Three water molecules were found building hydrogen bonds to the complex. Water O7 bonds with both hydrogen atoms to O5 and O6. Water O8 hydrogen bonds to O6 and O2 of a neighboring complex, O9 hydrogen bonds to O1 and O4 of symmetyrelated complexes.

O1 and O2 differ significantly in their bondlenghts to C1 (1.192(17)Å and 1.330(16) Å). No explicit electron density was found in the vicinity of O2 which could indicate the existance of a hydroxyl hydrogen atom but this absence of electron density may be caused by the reduced data quality. The cifcheck calculates the valence of Ru1 to be 3.36.

No restraints were applied, however, the data quality was at its limit for a publishable structure. Nevertheless the cif file was edited for publication.




_1097643391.unknown

