Crystal Structure Report for K Goldberg

by Werner Kaminsky

Sample Submitted by Wilson Bailey 

ID – WDB_1_148
X-ray Crystallography Laboratory

University of Washington

20. December 2012
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A yellow prism, measuring 0.35 x 0.17 x 0.16 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40 mm and exposure time was 5 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 99.6% complete to 33.25o  in (.  A total of  356554 reflections were collected covering the indices, h = -23 to 23, k = -23 to 23,  l = -30 to 30.  33735 reflections were symmetry independent and the Rint = 0.0358 indicated that the data was of excellent (average quality 0.07).  Indexing and unit cell refinement indicated a triclinic lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
For each of the three Pd-complexes in the asymmetric unit (there are 6 in the unit cell) we find one OTF anion, and the chlorine is disordered 1:1 with a hydride. The hydride was placed on residual electron density observed between the chlorine and palladium, however, its distance to Pd was not very stable und thus was restraint to a distance 1.53 Å. Reasoning for constructing this disorder model follows the observation of a Pd-halide distance of 2.30 Å (indicating chlorine and not fluorine, which would be closer) and the fact that without a disorder model two halides of symmetry related complexes would face each other on a straight line from one Pd to a symmetry related Pd at a distance of 2.6 to 2.67 Å without any particular positively charged moiety forcing them to be this close. The model has now an intermolecular Cl - hydride distance of about 3.4 Å.
The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP
 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. Disorder between chlorine and hydride ommitted for clarity.

Table 1: Crystallographic data for the structures provided.

Empirical formula 
C48 H87 Cl F6 N2 O6 P4 Pd2 S2

Formula weight 
1338.45

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Triclinic

Space group 
P -1

Unit cell dimensions
a = 15.111(5) Å
= 73.702(5)°.


b = 15.446(5) Å
= 89.542(5)°.


c = 19.786(5) Å
 = 83.651(5)°.

Volume
4404(2) Å3
Z
3

Density (calculated)
1.514 Mg/m3
Absorption coefficient
0.903 mm-1
F(000)
2076

Crystal size
0.35 x 0.17 x 0.16 mm3
Theta range for data collection
1.71 to 33.25°.

Index ranges
-23<=h<=23, -23<=k<=23, -30<=l<=30

Reflections collected
356554

Independent reflections
33735 [R(int) = 0.0358]

Completeness to theta = 33.25°
99.6 % 

Max. and min. transmission
0.8690 and 0.7429

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
33735 / 0 / 1009

Goodness-of-fit on F2
1.143

Final R indices [I>2sigma(I)]
R1 = 0.0265, wR2 = 0.0637

R indices (all data)
R1 = 0.0342, wR2 = 0.0691

Largest diff. peak and hole
0.949 and -1.046 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


� Farrugia LJ. (1997) Ortep-3 for Windows. Journal of Applied Crystallography, 30, 565





