Crystal Structure Report for K. Goldberg
by Sarah Flowers and Werner Kaminsky

Sample Submitted by Wilson Bailey 

ID – WDB_3_20
X-ray Crystallography Laboratory

University of Washington

12. September 2014
Data Collection  started: 8/25/14
Documentation finished: 09/03/14 
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@chem.washington.edu
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear colorless piece, measuring 0.45 x 0.30 x 0.30 mm3 was mounted on a loop with oil.  Data was collected at -173oC on a Bruker APEX II single crystal X-ray diffractometer, Mo-radiation.
Crystal-to-detector distance was 40.00 mm and exposure time was 5 seconds per frame for all sets.  The scan width was 0.5o.   Data collection was 98.5 % complete to 28.54o  in (.  A total of  124,667  reflections were collected covering the indices, h = -16 to 16, k = -14 to 14,  l = -36 to 36.  6879 reflections were symmetry independent and the Rint = 0.0757 indicated that the data was slightly below average quality (0.07).  Indexing and unit cell refinement indicated a Monoclinic lattice.  The space group was found to be P 21/c  (No.14). 
The data was integrated and scaled using SAINT, SADABS within the APEX2 software package by Bruker.
 

Solution by direct methods (SHELXS, SIR97
) produced a complete heavy atom phasing model consistent with the proposed structure. The structure was completed by difference Fourier synthesis with SHELXL97.
,
 Scattering factors are from Waasmair and Kirfel
. Hydrogen atoms were placed in geometrically idealised positions and constrained to ride on their parent atoms with C---H distances in the range 0.95-1.00 Angstrom. Isotropic thermal parameters Ueq were fixed such that they were 1.2Ueq of their parent atom Ueq for CH's and 1.5Ueq of their parent atom Ueq in case of methyl groups. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares.
During refinement of the structure, two large voids around (0.5, 0.0, 0.0) and (0.5, 0.5, 0.5) were discovered and appeared to be filled with water, pentane, and diethylether, however partial site occupancies violating minimum bond distances suggested that these solvent molecules are mainly non-localized. Therefore the application of SQUEEZE6 was used to resolve the contribution of solvent in these voids. A total of 414 electrons were found in this void, 207 in each separate void.  One localized water molecule, oxygen atom labeled O4, did refine with the structure showing hydrogen bonding interaction with the peroxide unit. 

The structure is of high quality and ready for publication. Table 1 summarizes the data collection details. Figure 1 shows an ORTEP7 of the asymmetric unit.
[image: image1.png]



Figure 1. ORTEP of the structure with thermal ellipsoids at the 50% probability level. 

Table 1.  Crystal data and structure refinement for wdb_3_20_0ma.

Empirical formula 
C33 H51 N2 O4 P Pd

Formula weight 
677.13

Temperature 
100(2) K

Wavelength 
0.71073 Å

Crystal system 
Monoclinic

Space group 
P 21/c 
Unit cell dimensions
a = 12.0548(6) Å
= 90°.


b = 10.9576(5) Å
= 91.537(3)°.


c = 27.2900(15) Å
 = 90°.

Volume
3603.5(3) Å3
Z
4

Density (calculated)
1.248 Mg/m3
Absorption coefficient
0.594 mm-1
F(000)
1424

Crystal size
0.27 x 0.17 x 0.12 mm3
Theta range for data collection
2.00 to 28.54°.

Index ranges
-16<=h<=16, -14<=k<=14, -36<=l<=36

Reflections collected
124667

Independent reflections
9042 [R(int) = 0.0757]

Completeness to theta = 28.54°
98.5 % 

Absorption correction
Semi-empirical from equivalents

Max. and min. transmission
0.9321 and 0.8561

Refinement method
Full-matrix least-squares on F2
Data / restraints / parameters
9042 / 0 / 391

Goodness-of-fit on F2
1.075

Final R indices [I>2sigma(I)]
R1 = 0.0484, wR2 = 0.1046

R indices (all data)
R1 = 0.0713, wR2 = 0.1128

Largest diff. peak and hole
0.969 and -0.602 e.Å-3
� Bruker (2007) APEX2 (Version 2.1-4), SAINT (version 7.34A), SADABS (version 2007/4), BrukerAXS Inc, Madison, Wisconsin, USA.


� (a) Altomare A, Burla C, Camalli M, Cascarano G L, Giacovazzo C, Guagliardi A,   Moliterni AGG, Polidori G, Spagna R. (1999) SIR97: a new tool for crystal structure determination and refinement Journal of Applied Crystallography, 32, 115-119. 


   (b) Altomare A, Cascarano G L, Giacovazzo C, Guagliardi A. (1993) Completion and refinement of crystal structures with SIR 92. Journal of Applied Crystallography, 26, 343-350.


� Sheldrick GM. (1997) SHELXL-97, Program for the Refinement of Crystal Structures. University of Göttingen, Germany.


� Mackay, S.; Edwards, C.; Henderson, A.; Gilmore, C.; Stewart, N.; Shankland, K.; Donald, A. (1997) MaXus: a computer program for the solution and refinement of crystal structures from diffraction data. University of Glasgow, Scotland,.


� Waasmaier, D.; Kirfel, A. (1995) New Analytical Scattering Factor Functions for Free Atoms and Ions. Acta Crystallographica A., 51, 416-430.


6 P. v.d. Sluis & A.L. Spek, BYPASS: an effective method for the refinement of crystal structures containing disordered solvent regions. Acta Cryst. A46, (1990), 194-201.





