Crystal Structure Report for Robinson/Dalton
Submitted by Yi Liao
Sample ID – YLII90
by Werner Kaminsky
X-ray Crystallography Laboratory

University of Washington

21. June 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A small black prism 0.02 x 0.12 x 0.36 mm was mounted on a glass capillary with oil.  Data was collected at 130K with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
183




5.30
-1.5
160  
 0 

2
      
(        
86.8




5.30
-25.9
-206.8
 74.1           

Crystal-to-detector distance was 40 mm and exposure time was 100 seconds per degree for all sets.  The scan width was 2o.   Data collection was 77.1% complete to 26.48o and 86.5% complete to 25o  in (.  A total of  13983 partial and complete reflections were collected covering the indices, h = -10 to 9, k = -8 to 11,  l = -14 to 13. 3124 reflections were symmetry independent and the Rint = 0.0984 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a triclinic P lattice.  The space group was found to be P(1  (No.2). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

The cif file for this structure was edited to allow publication with Acta Cryst or JACS. However, because of the small size of the crystal, a rebuttal was added to the cif document that discusses the failure to reach data completeness to 25o in (:

Too avoid problems with twinning, we needed to select a very small sample that then did produce a good data set jet did not scatter well. 

As a result, more reflections at higher angle in theta turned out to be too low in intensity to be counted in the data statistics.

The total diffraction angle theta is sufficiently high: 26.48 Degrees to insure proper evaluation of thermal parameters. 

No reflections were missing in the list of systematically absent reflections required for deriving the space group.




_1097643391.unknown

