Crystal Structure Report for Goldberg

Submitted by Andy Pawlikowski

Sample ID – andy01

by Jason Benedict

and Erica Gunn

X-ray Crystallography Laboratory

University of Washington

19. April 2006
Data backup accessibly through http:

URL: 
http://cad4.cpac.washington.edu/structures
Username: 
xray-user

Password: 
hkl-data

W.Kaminsky: tel. (206) 543 7585

(x-ray lab):     tel. (206) 543 0210 

Email: kaminsky@wintensor.com
Understanding crystallographic information is not trivial. If you discuss a structure in a publication, please let the crystallographers proof-read the final draft of that manuscript before you submit it.

For many structures it is true that crystallography is an intellectual performance (like synthesis or elucidation of mechanisms) and not a routine job. In these cases, particularly when the structures contribute significantly to the content of the publication, the crystallographers should be co-authors. Do not think this is not necessary because you pay for structures. Even I  have to pay for my own structures for my research.

A clear crystal plate cut down to 0.17 x 0.17 x 0.10 mm was mounted on a glass capillary with oil.  Data was collected at -143oC with two sets of exposure as follows:

Scan 

Type
Scanlength (deg.)  start (deg.)
(     
(
(     
( 

1
      
(        
182.0




3.70
-72.5
160  
 0 

2
      
(        
31.5




3.70
-25.9
-150.1 
 74.1           

Crystal-to-detector distance was 30 mm and exposure time was 40 seconds per degree for all sets.  The scan width was 1.2o.   Data collection was 96.1% complete to 28.30o and 99.7% complete to 25o  in (.  A total of 54658 partial and complete reflections were collected covering the indices, h = -13 to 13, k = -18 to 20, l = -33 to 33.  8618 reflections were symmetry independent and the Rint = 0.0985 indicated that the data was of slightly less than average quality (0.07). 

Indexing and unit cell refinement indicated a monoclinic P lattice.  The space group was found to be P21/c (No.14). 

The data was integrated and scaled using hkl-SCALEPACK. This program applies a multiplicative correction factor (S) to the observed intensities (I) and has the following form:


[image: image1.wmf]22

2(sin)/

S = ()/scale

B

e

ql

-


S is calculated from the scale and the B factor determined for each frame and is then applied to I to give the corrected intensity (Icorr).

Solution by direct methods (SIR97) produced a complete heavy atom phasing model consistent with the proposed structure. 

All hydrogen atoms were located using a riding model. All non-hydrogen atoms were refined anisotropically by full-matrix least-squares. 

A solvent molecule, CH2Cl2 (the carbon atom [C39]) sits on a two-fold axis giving rise to disorder in the structure. The asymmetric unit thus consists of one Pt dimer molecule and a CH2Cl2 molecule with half site occupancy. The formula moiety is double the asymmetric unit allowing Z=2 for this structure. Two ORTEPs have been provided, one complete (right) and one having the solvent and protons omitted for clarity.




_1097643391.unknown

